## Slide 1
Mrs. Neelam M. Surve
Medical Section
Pathology Laboratory
Quality Control – Part II

## Slide 2
What is External Quality Control (EQC) ?
How it is done ?
Importance of EQC
In our Laboratory, what we do for Quality Control ?
External
Quality
Control

## Slide 3
System
For checking Laboratory’s performance
Using external agency
External Quality Control (EQC)
Evaluation
by an 3rd party
Of the performance by numerous laboratories
With specially supplied samples

## Slide 4
Laboratory
Registration
Pack of
12 lyophilized Samples
Send results to
organizer
Report
Process of External Quality control (EQC)
Processing one Sample every month
External Quality Control
Test
Method
Machine
Reagents

## Slide 5
Why EQC is needed:
IQC
EQC
Complementary
Activities
Within the Lab
Outside Agency - 3rd party
certification and can not be manupulated
Daily monitoring of the precision and accuracy of analytical method
Maintaining the long term accuracy of the analytical
Methods
Ensure the laboratory is performing to an external standard.

## Slide 6
TIFR Lab. Quality Control

## Slide 7
Internal Quality Control (IQC):
Everyday - Control level 1 and level 2

## Slide 8
Calibration is done as per specifications and whenever required.
Checking reagent stock and expiry date regularly.
Checking previous reports
Re checking Results –
i) abnormal values i.e. low or high values
ii) values deviating from previous values
Every year Annual Maintainance Contract (AMC) is done for all the machines.
Other Internal Quality Control procedures :

## Slide 9
From June 2004 ,we started doing EQC.
Before this we used interlaboratory testing by sending samples to BARC lab and Dr. Shekhar Sheth lab.
In 2004 : External Quality control Programme of Erba Mannheim (Germany) Quality Assurance System (EM – QAS)
External Quality Control (EQC) :
Our laboratory has consistently received grade ‘A’ certificate for our excellent performance

## Slide 13
EQAS ( External Quality Assurance System) program
International Prog. conducted by Bio-rad
Since 2007
participants from over 109 countries & 5000-6000 labs
EQAS ( External Quality Assurance System) program
One year prog. from July to June
23 Parameters

## Slide 21
Other External Quality Control procedures :
Whenever new test is started , sample is sent to SRL Lab, Shahabazkar’s Lab for rechecking the results.
All the precautions are taken to avoid all types of errors.
To upgrade our knowledge, we attend seminars and CMEs arranged by Tata Hospital and Bio-rad every year.

## Slide 22
Thank You