## Slide 1
GRAPES-3 Detector Development
Past, Present & Future
Atul Jain
on behalf of GRAPES-3 collaboration , Cosmic Ray Laboratory, Ooty DHEP, Annual Meeting - 7 April,2016

## Slide 2
Muon Detector
EAS DAQ
GRAPES-3
Sc_RATE
1 GB
Monitoring
Sc_MAIN
15 GB
MUON ANGLE DAQ
MUON EAS DAQ
Mu_ MAIN 1 GB
Mu_ANGLE
4 GB
PRE ANALYSIS
3712
400
Monitoring Performance
EAS TRIGGER
Weather Data
ScDet
Scintillation Detector
SMS Alert
GRAPES-3 Computer Cluster (Poster by Hari)
35 Hz
50 KHz
Compression of data
Conversion to ROOT
Notes: 2

## Slide 3: Plastic Scintillator Detector ( Poster by V. Jhansi & Meeran Zuberi )

## Slide 4
High performance plastic scintillation detectors - 400
Spread over an area - 25,000 m2

## Slide 5
Plastic Scintillator Casting

## Slide 6
Gas Mixture | 90% Ar +10% CH4
Total | 3712 nos
Total Area | 560 m2
Absorber | 2.4 m
Threshold | E = 1 GeV
Proportional Counter

## Slide 7: Inside view of Muon Supermodule at GRAPES-3

## Slide 8
3
4
2
1
Proportional Counter - 3712 nos
Total area - 560 m2
2
1
3
4

## Slide 9
Expansion of Muon Detectors
(Talk by P.K.Mohanty)
Proposal to double the area of Muon Detectors
560m2  1130m2 3712nos  7488nos
Fabrication of PRC’s in Final Production Mode ( Poster by Kaviti Ramesh)
    Target – 3776 nos
    (Status as on 4 April 2016 )
    Fabrication - 1059 nos
    Helium Leak Test - 1034 nos
    MCA Test - 1008 nos
    Final Test Bench - 512 nos
    Installed in Field - 59 nos
Chart: PRC Fabrication
| Remaining | Farbrication
Column2 | 2718 | 1058

## Slide 10
Test Bench 1 (16x8=128 PRC)
Test Bench 2
Test Bench 3
Test Bench 4
Test Bench 5

## Slide 12
1
2
3
4
5
6
7
8

## Slide 13
PRC New Area with Counters
1
2
3
4
5
8
7
6
PRC’s Placed for Layer-0

## Slide 14
PRC Mobile Test Bench

## Slide 16
Proportional counter’s base PCB
Dimensions: 72 cm X 8 cm
-Single layer PCB -Houses Eight Channels - Taken care of EMI/EMC
-Powers all the Channels -Can with stand 5 KV -Provides connectivity to DAQ PC
Amplifier and Discriminator for PRC
(Poster by Kaviti Ramesh)

## Slide 17
Proportional counter Performance (Poster by Anuj Chandra)
New Amplifier Board
Mu
Ar
Fe
Zn
Old Amplifier Board
Ar_peak : 3.0 keV
Fe_peak : 6.4 keV
Zn_peak : 8.6 keV
Mu_peak : 20.0 keV

## Slide 18
GRAPES-3
HPTDC
ARRAY
OF DETECTORS
Pulse
Fan-out
Amplifier
&
Discriminator
Level-0
Trigger
Level-1
Trigger
Real
Time
Clock
ADC
GRAPES
Master
Controller
CAMAC
Controller
Memory
Buffer
TRIG & GATE
EAS Trigger
Clear
EAS Trigger
GATE
Clear
TRIG
400…........721
EAS Scintillator DAQ
GRAPES
GRAPES
GRAPES
GRAPES
CAEN
GRAPES
GRAPES
GRAPES
GRAPES
GRAPES
GPS
Receiver
Meinberg
PCI
Interface
HV Distribution
GRAPES

## Slide 19
GRAPES-3
HPTDC
ARRAY
OF DETECTORS
HV Distribution
&
HV Monitoring
Pulse
Fan-out
Amplifier
&
Discriminator
Level-0
Trigger
Level-1
Trigger
Real
Time
Clock
ADC
GRAPES
Master
Controller
CAMAC
Controller
TRIG & GATE
EAS Trigger
Clear
EAS Trigger
GATE
Clear
TRIG
400…........721
EAS Scintillator DAQ
GRAPES
GRAPES
GRAPES
CAEN
GRAPES
GRAPES
GRAPES
GRAPES
GRAPES
GRAPES
GPS
Receiver
Meinberg
USB
Interface
Board
GRAPES
(Poster by Pankaj Rakshe)

## Slide 20
GRAPES-3
HPTDC
ARRAY
OF DETECTORS
HV Distribution
&
HV Monitoring
Pulse
Fan-out
Amplifier
&
Discriminator
ADC
TRIG & GATE
EAS Trigger
Clear
GATE
Clear
TRIG
400…........721
EAS Scintillator DAQ
GRAPES
CAEN
GRAPES
GRAPES
GRAPES
GRAPES
FPGA Based
Programmable
TriggerLogic
GRAPES
FPGA Based
Integrated CAMAC DAQ
Master Controller Real Time Clock
CAMAC Controller USB Interface
GRAPES

## Slide 22: Muon DAQ
Proportional
Counter
Amplifier
&
Discriminator
RAM
Card
RAM
Control
Card
PWA & CRM Card (ISA)
Mu_Main Card (ISA)
Pulse Latch
Card
Module
Control
Card
Interface Card (PCI)

## Slide 23: Muon DAQ
Proportional
Counter
Amplifier
&
Discriminator
RAM
Card
RAM
Control
Card
PWA & CRM Card (USB)
Mu_Main Card (ISA)
Pulse Latch
Card
Module
Control
Card
Interface ( TCP/IP)
(Poster by Pankaj Rakshe)
(Poster by Kaviti Ramesh)

## Slide 24: Muon DAQ
Proportional
Counter
Amplifier
&
Discriminator
RAM
Control
Card
FPGA Based
Integrated Muon DAQ
RAM Card Pulse Latch Card
RAM Control Card Module Control Card
Mu_Main Common Control Card
PWA & CRM PC interface with TCP/IP

## Slide 25
Projects and Training at CRL, Ooty
CRL, TIFR and VIIT Collaboration (2011-2016 ) - 242 Project students
CRL,TIFR and other Colleges/University - 27 Project students
Training of students and faculty from collaboration on aspects of Detector Fabrication and Signal Processing ( ~ 30 members)
Setting up experiments for M.Sc students at Bose Institute , Kolkatta,
Dayalbag Educational Institute, Agra

## Slide 27
Building Blocks

## Slide 28: Assembling building blocks for new applications
FPGA based Pulse Width Analyser with USB interface for 64 channel
FPGA based Mobile Test Bench for 8 channel
TCP/IP interface board for Muon DAQ system
FPGA based muon tracker
Programmable temperature controller and DAQ for heating PRC bed
USB interface board for Sc_main DAQ system
USB interface board for Sc_Rate DAQ system
High Voltage Monitoring system with USB interface.
FPGA based Programmable Logic Unit with Scalar and USB interface
FPGA based Muon Life Time measurement with USB interface

## Slide 29: Future Steps
FPGA based integrated CAMAC DAQ
FPGA based Programmable Trigger Logic
FPGA based Muon DAQ system
Front End and Back End Electronics for 7488 PRCs

## Slide 30
Public Lecture on 27 Jan 2016 – 1161nos
National Science Day 28 Feb 2016 – 601nos
Students visit to GRAPES-3 (2015) – 840nos

## Slide 31: THANKS
http://grapes-3.tifr.res.in

## Slide 32
Back

## Slide 33
Back