## Slide 1
Class B ( L4.001 ) Data Base Tutorial
Kamesh

## Slide 2
L4.xxx -- RS4.xxx ( check list )
OS4.xxx ( check list ) -- SPA4.xxx ( check list )
SBWxxx
SFWxxx
Check list items to be followed during assembly :
First : RS4.xxx
Second : SPA4.xxx
Third : OS4.xxx and L4.xxx
APVDAQ Testing :
SBWxxx after arrival , results of csv,ped,cal measurement section + eDefectfinder csv
SFWxxx after arrival, results of csv,ped,cal measurement section + eDefectfinder csv
IV data, eDefectfinder pdf, captured images for the above in the item file section
3) Origami –Z test before assembly and load the results in the meas. Section
SBWxxx and SFWxxx after gluing on to the ribs – load the results in the mea. Section
Origami subassembly ( after wirebonding and before placing on the ribs ) – load the results
in the mea. Section
6) L4.xxx - after ladder assembly – SFWxxx, SBWxxx, origami –Z with source and load the results
in the measurement section ( csv, ped , cal, eDefectfinder csv ), pdf files & other
images in the Item files section
DataBase
Ladder
components
components

## Slide 3
Data Base usage for class B
Database used for L4.001 and for all the ladders during ladder production
Components, sub-assemblies and ladders are registered in the DB
ID’s used during the ladder assembly
L4.001 - class B ladder
SFW001 and SBW003 for subassemblies from Pisa
SPA4.001 – sensor + pitch adapters
OS4.001 - origami subassembly ( O-Z065 – origami –Z )
A4.024 – Airex sheet
RS4.003 – Rib subassembly
Updated the checklist during the ladder assembly

## Slide 4
Components attached to the Ladder

## Slide 8
Check list for each components
Checklist templates
  A4_Cl - Airex sheet
  SPA4_Cl - Sensor + PA sub-assembly
  RS4_Cl - Rib sub-assembly
  OS4_Cl - Origami sub-assembly
  L4_Cl - L4 ladder

## Slide 11
Check list continued

## Slide 13
Check list continued

## Slide 14
Attaching the measurement files
*.ped,*.cal, *.csv files to be uploaded in the measurement section

## Slide 16
Continued

## Slide 24
BW
FW
-Z
Before assembly IV

## Slide 25
BW
FW
After assembly IV
-Z

## Slide 26
Assembled Ladder results

## Slide 27
Thank you